## Slide 1
20 RAW LED images from SUIT.
Single filter combination.
Dark/Bias correction of each image.
Average of 20 images
20 corrected images.
Averaged image [1]
Boxcar blurring
(11px kernel)
Blurred image [2]
Division [1]/[2]
Flat field [3]
(pixel to pixel variation)
Division [4]/[3]
Sun Image (Dark/ Bias subtracted) [4]
Flat Corrected Sun Image
LED based Flat field correction sequence for SUIT.